## Slide 1: SENSOR SUITES
Geothermal: Sensors can monitor for surges, empty pockets and depletions in realtime giving ample time to plan ahead
Biomass: Extremely large amount of metrics can be analysed with ML at very small epoch time due to 5G with continual learning
Nuclear: Monitor Neutron Density, Rods insertion etc in realtime & calibrate before runaways
Fossil Based: Automatically manage for demand surges with more input by self driving wagon tipplers and trucks

## Slide 2: BOTS & VEHICLES
On Demand Surge. CV2X allows fleets to automatically deploy with raw material. Ex. Coal
In Toxic & Radioactive env, bots can inspect instead of humans. Ex. Fukishima
Boston Dynamics Spot can patrol remote & hazardous locations. Ex Illwerke Vkw, Austria
C-V2X: Cellular Vehicle-to-Everything is a unified connectivity platform including vehicle-to-vehicle (V2V), vehicle-to-roadside infrastructure (V2I) and vehicle-to-pedestrian (V2P) comms

## Slide 3: WHOLISTIC MONITORING: SMART GRID
Intelligent Distributed Feeder Automation
Automatic grid fault detection & isolation within ms Ex. Enel's grid, Olbia, Italy
Remote inspection of working areas Ex. Garraf Naural Park Substation, Barcelona, Spain
Realtime wide area monitoring & usage data Ex. Cross Border Area, North Greece & South Bulgaria with phasor measurement units connected with 5G comm link to virtual phasor data concentrator
Millisecond-Level Precise Load Control Ex. Wind Farm, south-eastern Bulgaria